ViscaOrient uses various python scripts, VMD (Visual Molecular Dynamics) and the visca Fortran script to compare experimental and calculated SFG spectra across different polarisation combinations. The package is run through the terminal/command line and, once installed, the command “visca” will be globally available.

The required inputs include:

1) a protein structure file (.pdb)

2) experimental SFG spectra files (separate single column .txt files for each polarisation and the shared frequency axis- no headers)

3) an input file (ViscaOrient_parameters.inp) containing all the necessary settings explained below.

The main script for ViscaOrient creates a working directory based on the pdb structure name.

The first part of this script calls VMD to rotate the crystal structure and save the requested rotational states as .dcd files.

Then the visca fortran script is used to calculate SFG spectra for each of these rotational states.

This produces .txt files for each rotational state containing the lab-frame components of chi(2).

These spectra are also corrected for the local electric fields (by calculating Fresnel factors based on input parameters) and normalised with respect to one of the polarisation combinations (chosen in the the input file).

Residual sum of squares values are calculated by comparing the normalised experimental spectra with the normalised calculated spectra at each rotational state to quantify the deviation.

Example command: visca orient ViscaOrient_parameters.inp

The RSS values can be plotted as a function of theta and psi angles to give a 2d plot using the RSS_plot command

Example command: visca orient_RSS_plot ViscaOrient_parameters.inp

Experimental and calculated spectra at a particular rotational state can be plotted using rot_plot command and specifying the theta and psi angles as arguments.

Example command: visca orient_plotter ViscaOrient_parameters.inp 20 130

Example input file parameters are shown below:

name = 6OR3_open_wt_final_charmm_names #refers to the pdb file name (without the .pdb extension at the end).

pdb_location = /home/user/Desktop/ViscaOrient/Structures #is the path of the pdb structure file.

steps =   45 #the number of steps between initial and final values for theta and psi axes.

RSS_range_i = 1575

RSS_range_f = 1680 #refers to the frequency range (initial and final values) for calculating the RSS values between the experimental and calculated spectra. For example, this can be useful if there is a lipid mode close to the amide mode and you would not like it to be included in the RSS calculation - just set the range to exclude the lipid mode.

exp_data_location = /home/user/Desktop/ViscaOrient/Experimental_data/ #is the path for the experimental data. This should be a directory containing separate, single-column, no-header .txt files for the frequecy axis (xvals) and each polarisation combination.

xvals = xvals.txt

SSP = SSP.txt

PPP = PPP.txt

SPS = SPS.txt

SSP_bg=0.0 #optional value for background to subtract.

PPP_bg=0.0

SPS_bg=0.0

Normalize_wrt = SSP #polarisation combination to normalise with respect to – normally the most intense one.

fortran_script = visca.out #file name of compiled fortran code.

fortran_script_location = /home/user/Desktop/ViscaOrient/ #path for fortran script.

tcl_scripts_location = /home/user/Desktop/ViscaSelect/ #path for the VMD .tcl scripts.

vmd_command = vmd #terminal command for vmd. This is just “vmd” in Linux operating systems, but a path may need to be specified in MacOS.

post_clean = True #optional command to delete .dcd and calculated spectra files generated during analysis to save storage space. Note that the plotter can recalculate these individually as required so we recommend leaving this as True.

RSS_file = RSS.txt  #file name for output containing RSS values.

width = 18 #Lorentzian linewitdh (cm-1).

mOH = 400 #measure of hydrogen bonding effect (frequency shift per Å).

Omega0 = 1665 #local mode central frequency (cm-1).

theta_i = 0

theta_f = 180 #initial and final values for range of theta angles to include (in degrees).

psi_i = 0

psi_f = 360 #initial and final values for range of psi angles to include (in degrees).

#Below are all the parameters used for the Local Field Correction (Fresnel) factors

lambda_vis = 800 #visible wavelength (nm)

omega_ir = 1665 #ir frequency (cm-1)

n1_sfg = 1 #refractive index of medium 1 at sfg wavelength (here air)

n1_vis = 1 #refractive index of medium 1 at vis wavelength (here air)

n1_ir = 1 #refractive index of medium 1 at ir wavelength (here air)

n2_sfg = 1.3308 #refractive index of medium 2 at sfg wavelength (here water)

n2_vis = 1.329 #refractive index of medium 2 at vis wavelength (here water)

n2_ir = 1.265 #refractive index of medium 2 at ir wavelength (here water)

ni_sfg = 1.47 #interfacial refractive index at sfg wavelength (here fixed based on Voros 2004 Biophys. J. 87 p553-561)

ni_vis = 1.47 #interfacial refractive index at vis wavelength

ni_ir = 1.47 #interfacial refractive index at ir wavelength

theta1_vis = 39 #incidence angle for visible relative to surface normal in degrees.

theta1_ir = 27 #incidence angle for ir relative to surface normal in degrees.